Project No 518294 SES6

CASES

Cost Assessment of Sustainable Energy Systems

Instrument: Co-ordination Action

Thematic Priority: Sustainable Energy Systems

DELIVERABLE No D.4.1

“Private costs of electricity and heat generation"

Due date of deliverable: 30th September 2007

Actual submission date: 23rd November 2007

Last update August 2008

Duration: 30 months

Start date of project: 1/4/2006

Organisation name of lead contractor for this deliverable: USTUTT/IER

Revision: FEEM

| Project co-funded by the European Commission within the Sixth Framework Programme (2002-2006) |
| --- |
| Dissemination level |
| PU | Public |  |
| PP | Restricted to other programme participants (including the Commission Services) |  |
| RE | Restricted to a group specified by the consortium (including the Commission Services) |  |
| CO | Confidential, only for members of the consortium (including the Commission Services) |  |

Private Costs of Electricity and Heat Generation

Markus Blesl, Steffen Wissel, Oliver Mayer-Spohn a

a IER University Stuttgart

Table of Contents

1.	Introduction	1

2.	Methodology – Private Cost Calculating	1

2.1.	Average Lifetime Levelised Generating Costs	1

3.	Assumptions	3

3.1.	Fuel prices	3

3.2.	Heat credits for Combined Heat and Power	3

3.3.	Back-Up costs	4

4.	Technologies	4

4.1.	Nuclear Power Plants	8

4.2.	Fossil Power Plants	9

4.2.1.	Hard coal- and Lignite-fired power plants	9

4.2.2.	Costs of CO2 transport and storage	11

4.2.3.	Natural gas-fired power plants	11

4.2.4.	Oil-fired power plants	12

4.3.	Combined Heat and Power plants (CHP)	12

4.4.	Renewable Plants	13

4.4.1.	Hydro	13

4.4.2.	Wind	14

4.4.3.	Photovoltaic PV	15

4.4.4.	Solar thermal (Solar trough)	16

4.5.	Fuel Cells	17

5.	Private Costs	19

5.1.	Private Costs 2007	19

5.1.1.	Fossil and Nuclear Power 2007	19

5.1.2.	Combined Heat and Power 2007	22

5.1.3.	Renewable Sources 2007	25

5.2.	Private Costs 2020	28

5.2.1.	Fossil and Nuclear Power 2020	28

5.2.2.	Combined Heat and Power 2020	31

5.2.3.	Renewable Sources 2020	33

5.3.	Private Costs 2030	37

5.3.1.	Fossil and Nuclear Power 2030	37

5.3.2.	Combined Heat and Electricity 2030	40

5.3.3.	Renewable Sources 2030	42

6.	Summary	46

7.	References	47

# Introduction

This deliverable is written in the framework of the CASES (Cost Assessment of Sustainable Energy Costs), which is an European Commission funded Coordination Action. In this project a comprehensive analysis of the examination of private and external costs is made. The objective of this paper is to present best predictions about the evolution of the private costs of different technologies of electricity and heat generation up to 2030. Chapter 2 illustrates the methodology for determination the private costs, on the basis of the Average Levelised Generating Costs (ALLGC). The energy price assumptions of the fossil nuclear energy systems are briefed in the following chapter of the report. Chapter 4 is a broad look at the current most important technologies and potentially future (most important) technologies of electricity and heat generation. Each of these technologies has been scrutinized, especially with its potential for further development in the future. The Chapter 5 represents analysis about the preliminary results of private costs of selective heat and electricity generation technologies.

# Methodology – Private Cost Calculating

## Average Lifetime Levelised Generating Costs

Objective of this chapter is to illustrate a short introduction of the approach, to provide the equations used for calculating levelised costs and to distinguish the essential parameters needed for calculations. The methodology calculates the generation costs on the basis of net power supplied to the station busbar, where electricity is fed to the grid. This cost estimation methodology discounts the time series of expenditures to their present values in a specified base year by applying a discount rate. A discount rate takes into account that the time value of money does not have the same value as the same sum earned or spent today. The levelised lifetime cost per kWh of electricity generated is the ratio of total lifetime expenses versus total expected outputs, expressed in terms of present value equivalent /IEA 2005/. This cost is equivalent to the average price that would have to be paid by consumers to repay exactly the investor/operator for the capital, fuel expenses and operation and maintenance expenses, inclusive the rate of return equal to discount rate. The date selected as base year is for the following calculations in chapter five year 2005. Hence the normal inflation is excluded from the calculations.

The formula to calculate for each power plant, the Average Lifetime Levelised Generating Costs is:

From this follows the ALLGC to:

|  | It | = Investment expenditures in year t |
| --- | --- | --- |
|  | Mt | = Operation and Maintenance expenditure in year t |
|  | Ft | = Fuel expenditures in year t |
|  | Et | = Electricity generation in year t |
|  | r | = Discount rate |
|  | ALLGC | = Average Lifetime Levelised Generating Costs () |

The capital (investment) expenditures in each year include construction, refurbishment and decommissioning expenses. A methodology which is widely adopted to assume capital costs, i.e. by OECD, is to define the specific overnight construction cost (OIC) in €/kW and the expense schedule from the construction period. The overnight construction cost is defined as the total of all costs incurred for building the plant immediately. Interest rate during construction can deviate from the general adopted discount rate, and the costs are expressed in terms of percentage of OIC. The capital costs are part of the levelised generation cost, which is the basis for cost comparisons and assessments.

The fuel price assumptions of fossil and nuclear plants are described in chapter 3.

Operating and Maintenance (O&M) costs contribute a small but no negligent fraction to the total cost.

- Fixed O&M costs [€/kWa] include cost of the operational staff, insurances, taxes etc.

- Variable O&M costs [€/MWh] include cost for maintenance, contracted personnel, consumed material (i.e. operating materials, operating fluids) and cost for disposal of normal operational waste (exclude radioactive waste)

The discount rate that is considered appropriate for the energy sector may differ from plant to plant. In this paper, two interest rates were used: 5% and 10%.

Private cost of generating electricity may include in addition to the ALLGC also other cost items that may vary from plant to plant. Possible items may be environmental taxes on fuels, carbon emission charges, system integration costs, etc.. For the purpose of comparison only the ALLGC costs are reported here as private costs.

# Assumptions

## Fuel prices

For the projection of future heat and electricity production costs fuel price assumptions of the used energy carriers are necessary. Fuel price assumptions are generally to be burdened with the restricted projection methodology, due to the high uncertainties by a given market and the law of demand and supply. Lignite and biomass (straw, wood chips, biogas) are local energy carriers, which are not included in an international price mechanism. Taking inflation into account the fuel prices of these two types of energy carriers will be constant. Of particular noteworthiness for nuclear power is that the total fuel cycle costs are considered (natural uranium, conversion, enrichment, intermediate and final disposal). In the projections in Table 1, the oil price is gradually increasing at the beginning. Naturally gas is following a similar pattern. After 2030 constant prices for all energy carriers are assumed.

Table 1		Fuel price assumptions on plant level /EUSUSTEL 2006/; /ETP 2008/

## Heat credits for Combined Heat and Power

An important distinction needs to be made in comparing electricity power plants with combined heat and power plants (CHP`s), which use rejected heat with typical simple processes. The value of heat recovery can be measured by the cost avoided in using recovered thermal energy for a specific purpose, as opposed to using another source of energy. Most commonly,  recovered heat replaces thermal energy output from some type of fuel-burning-equipment, usually a boiler. In this case, the value of recovered thermal energy is equivalent to the cost of fuel energy that would have otherwise been consumed. The displayed energy is commonly refered to as an energy credit or fuel credit. The amount of energy displaced by recovered heat is a function of the efficiency of the displaced boiler (or other heating equipment). The alternative heat generation technology in this report is given by a gas boiler with an efficiency of 88%.

## Back-Up costs

The introduction of the intermittent renewable energies, like wind or solar power, affects the electricity generating system. The inflexibility, variability, and relative unpredictability of intermittent energy sources are the most obvious barriers to an easy integration and widespread application of wind and solar power. Due to the fluctuation by producing energy with wind and solar plants a back-up technology is necessary for compensating this. The back-up cost of not assured generating power of solar and wind plants can be calculated with equation /Friedrich 1989/.

|  |  | = | Cost Back-Up |
| --- | --- | --- | --- |
|  |  | = | Full loading hours, supply |
|  |  | = | Full loading hours of the renewable power station |
|  |  | = | Power credit of the renewable energy plant |
|  |  | = | Annuity, incl. the annual fix costs of the Back-Up technology |

In this equation, the provision of the back-up power is reduced by a capacity factor (P) for the renewable technologies /Kruck 2004/. Back-Up technologies here are a hard coal condensing power plant for minimum back-up costs and a gas-fired CCGT plant for maximum back-up costs.

# Technologies

The data of the technology characterization reflects the current stage of commercial heat and power plants and of potentially electricity and heat generation technologies of the future. Table 2 to 4 depict the assumed characteristic data of the electricity and heat generation technologies in 2007, 2020 and 2030.

Table 2		Heat and electricity generation technologies 2007

Table 3		Heat and electricity generation technologies 2020

Table 4		Heat and electricity generation technologies 2030

## Nuclear Power Plants

In 2004 in EU-25, nuclear energy represented 31 % of the electricity produced in the European Union and 15 % of the total energy consumed. Although until recently the public in some countries has had a rather negative attitude towards nuclear energy – which originates largely from the Chernobyl accident, a global comeback seems to be possible. Nuclear energy is one of the energy systems with the lowest greenhouse gas emissions and has a high price stability of the generated electricity. But, a pre-condition for further development of the nuclear power is the management of radioactive waste.

Current Technologies (2007)

Nuclear fission reactors produce and control the release of energy from splitting the atoms (like uranium 235 or 233 or plutonium 239) of certain elements. In a nuclear power reactor, the energy released is used as heat to make steam to generate electricity. Nowadays, the most commonly used reactor is the Light Water Reactor (LWR), which uses enriched uranium as fuel and water both as coolant and moderator. Two types of Light Water reactors are mostly used the Pressurized Water Reactor (PWR) and the Boiling Water Reactor (BWR). The electrical efficiency of nuclear power plants is restricted due to the low operating temperatures, so that efficiency is about 33%.

The availability of modern reactors varies from 80 to 95%. The output of power from large reactors can change with 30 to 40 MW per minute /MIT 2003/, but the technical minimum is 25%. A typical lifetime for current reactors is 40 to 60 years.

Future Technologies (2020, 2030)

The industry of nuclear power has been developing and improving reactor technology for almost five decades and is preparing for the next generations. The evolutions can be divided into two categories. The first one is the further development of current standard reactors, which are called “generation III” reactors. Third-generation reactors are still thermal reactors, but with higher availability and longer operating lifetime (60 years), improved safety (reduced possibility of core melt accidents), higher burn-up to reduce fuel use and the amount of waste, smaller investment costs.

The “generation IV” reactors are not taking into account for the private cost calculations because the commercial deployment will be after 2030 and the assumptions for the investment costs are currently not predictable. An international working group is developing six nuclear reactors. Some types of these considered reactors employ a closed fuel cycle to maximise the resource base and minimise high-level wastes to be sent to a repository. Most types of generation IV reactors will be fast reactors with a reinforced safety system. It is assumed that the mostly future reactor designs will not be cooled by light water, but by helium, sodium lead-bismuth and molten salt. One of the main issues is to be tackled with the costs, but one objective of the international work group is to present design concepts with lower investment costs than 1000 US-$/kW /GIF 2002/.

## Fossil Power Plants

Fossil-fired energy technologies are very widely used worldwide. In 2005, more than 80% of the worldwide primary energy need and nearly two-thirds of the worldwide electricity demand is met by fossil energy carriers.

### Hard coal- and Lignite-fired power plants

Among the existing technologies for electricity generation from fossil fuels, coal-fired power plants have dominated electricity production for several years. More than 40% of the worldwide electricity is generated by coal-fired power plants in 2005 /IEA 2007/. The fuel costs represent approximately 40% of the total electricity production cost. Technologies for electricity generation from coal can be applied for both hard coal and lignite. As there are large resources of lignite in Europe, lignite-fired plants will be discussed in this chapter as well.

Current Technologies (2007)

Pulverized Coal combustion (PCC):

One of the oldest technologies still dominating electricity production is the pulverized coal combustion (PCC). Thereby coal is crushed and milled to powder, which is fed to a burner. The combustion heat is used for the generation of steam, which is the working fluid in a steam cycle with steam turbine for electricity generation (Rankine cycle). This technology is very well known, has an excellent availability factor and features high fuel flexibility in terms of coal types. The PCC technology can be applied for lignite as well; however this will result in a somewhat lower efficiency due to the lower heat content of lignite. Recent development includes the application of supercritical pulverised coal combustion with supercritical steam conditions. These newer PCC power plants feature steam conditions above 221 bar and around 600°C. This results in an overall efficiency of 44.5% for lignite and 46% for hard coal

Integrated Gasification Combined Cycle (IGCC):

The integrated gasification combined cycle (IGCC) is the combination of a coal gasification unit and a gas fired combined cycle unit. First, the coal is gasified (by fixed bed gasification, fluidised bed or entrained flow gasification) to syngas which is a mixture of hydrogen and carbon monoxide. Subsequently, electricity is generated from syngas in a combined cycle power block consisting of a gas turbine process and a steam turbine process. The combined cycle technology is similar to the technology used in modern natural gas fired power plants (CCGT). In comparison to conventional steam power plants, IGCC power plants feature higher efficiencies and lower emissions. Lignite fuelled IGCC power plants have an efficiency of 44%, hard coal based IGCC plants 45%. IGCC features a high feedstock flexibility and can be designed for electricity generation from lignite, hard coal, waste or biomass. Furthermore IGCC technology offers promising conditions for CO2-capture. The structure of an IGCC power plant is more complex than steam power plants. Thus, the investment costs are significantly higher compared to other coal power plants. The technical factors coal type, gasification technology, degree of the air separation integration and the technology level of the gas turbine and turbine inlet temperature influence the efficiency of an IGCC plant /MIT 2005/.

Future Technologies (2020, 2030)

Future improvements and evolutions of the respective fossil fuelled electricity generation technologies strongly depend on the development of new materials. New materials for application at higher temperature and pressure levels are a prerequisite for further efficiency increases in new coal-fired power plants. Furthermore research on improved corrosion resistance of materials is necessary.

As the PCC-technology already exists for a long time and can be considered as mature technology, no major technical innovation or milestones can be expected in future. However by elevated steam parameters, installation of superheating steps and application of lower condenser pressures further increases in power plant efficiency up to 52% for the supercritical case can be achieved. In 2030 an efficiency of the IGCC power plants up to 55% can be expected. The progress in IGCC power plants depends not only on new materials, but also on the improvement of the reliability of system components. In the long term prospect, the IGCC technology has the potential to increase the efficiency considerably above 50%.

Integrated Gasification Combined Cycle (IGCC) with CCS

Within the context of this paper only a short description of the power plant technology with the capturing of CO2 will be given. For a further discussion on the topics for capture, transport and storage of CO2 see /VGB 2004/, /MIT 2005/ and /IPCC 2007/.

The sequestration of CO2 implies adding infrastructure to a common fossil power plant. The CO2 can be separated by three measures:

- Pre-combustion

- Post combustion

- Oxyfuel combustion

The power plant with CO2-seperation requires additional components. These components have an impact on the cost (about 1370 €/kW in 2020) and efficiency. The higher investment cost goes in line with higher O&M cost. The cost of CO2- storage and transportation are not included in specific investment costs of the IGCC power plant in the table of technology characterisation. Operational costs of CCS will be added to the fuel cost.

In this study, IGCC technology with CO2 capture is considered to be available after 2010. Additional energy is required for the compression and liquefaction of the captured CO2, which is injected at a pressure of 110 bar in fluid state into CO2 transportation pipelines. Both the bleed of steam and electricity for compression of CO2 are taken form the electricity generation process and thus reduce the overall efficiency of the power plant. The efficiency penalty due to CO2 capture was assumed to be 6%, which is in accordance to /Hendriks 2007/.

### Costs of CO2 transport and storage

A full economic analysis for generating costs of future power plants with CCS requires assumptions for CO2 transport and storage cost.

After the CO2 is separated, it must be compressed to a high pressure of about 80-120 bar into a liquid state and transported through pipeline or ship (by low temperatures) to the storage location. The results of cost estimations for the transport of CO2 via pipeline or ship depend on technical data (e.g. transmission capacity, pipeline diameter), transport distance and country specific characteristics. The figures for CO2 transport range from 2 to 7 €/t CO2 in the literature /FZJ STE 2006, /Ecofys 2004/, /IPCC 2005/, /VGB 2004/.

The storage cost of CO2 depends on many factors such as accessibility to the storage area, topography and technical feasibility. On the other hand, CO2 requirements for enhanced oil and gas recovery or other processes can generate a market for CO2, which improves the economics of capture and storage. The cost for the offshore storage is considerably higher than the one for the onshore. The assumptions made in this work are based on the figures of saline aquifers found in the literature /WI 2007, /FZJ STE 2006/, /IPCC 2005/ and range from 1 to 8 €/t CO2.

The specific total cost for transport and storage of CO2 is assumed for 3 €/t CO2 and 15 €/t CO2 in lower case and upper case.

### Natural gas-fired power plants

Natural gas power plants became a very popular technology for the electricity production. Since 1973 the worldwide share of natural gas for the power generation increased from 12.3% to almost  20% worldwide /IEA 2007/.

Current Technologies (2007)

The initial point of gas-fired power plants is a gas turbine. This type of turbine can be adopted in a single configuration or in a combined cycle.

The simple cycle gas turbine is an open cycle, the air passes through a compressor before it enters into a combustion chamber. There, fuel is injected and a combustion reaction occurs. The resulting hot gasses enter a turbine, in which they expand, before being injected in the atmosphere. Single configuration units are very flexible and mainly serve in cycling and peak load. The efficiency of a single gas turbine amount 50%, but the capital cost are absolute low with 250 €/kW.

Combined Cycle Gas Turbines (CCGT`s) are based on the structure of the single gas turbine, but a second turbine (steam turbine) is added. The residual heat from the flue gasses from the simple gas turbine unit is recuperated in a heat recovery steam generator for making steam /VGB 2005/. The steam is finally used in a closed rankine cycle. The efficiency of the gas cycle is approximately two-thirdly of the net efficiency. This is less than a simple single gas turbine plant, due to the combination of the rankine and the gas turbine cycle the overall efficiency of a CCGT plant reaches 57.5%. In comparison to the simple gas turbine unit is the CCGT less flexible. The low construction costs (440 €/kW) and the short construction time of 2-3 years are the major advantages of the CCGT power plant.

Future Technologies (2020, 2030)

Compared to the coal power plants for gas turbine and CCGT`s are no real technical breakthroughs expected. Also costs are not expected to decrease a lot, because the capital costs are of a relative low level. But still some improvements can be reached by deployment of new materials. The new materials allow higher turbine inlet temperatures of the gas turbine and the option of supercritical steam parameters. By 2030, with the deployment of new materials and better cooling options for the gas turbine, an overall efficiency of 63% is assumed.

Combined Cycle Gas Turbine (CCGT) with CCS

The type of power plant with CCS for natural gas is the CCGT technology. The characterisations of the CCGT technology with CCS are shown in table 2-4. For the CCGT plants with separation of CO2, there is a net efficiency loss of about 6%.

### Oil-fired power plants

The oil-fired power plants are not anymore the standard state-of-the-art power plant for generating electricity in liberalised markets. Compared to 1973, the share of oil-fired power plants for the generation of electricity decreased worldwide from about 25% to 6.6% in 2005 /IEA 2007/. Italy is the exception in Europe with a relative high share of oil-fired power plants. The available oil reserves are mainly used for transport, domestic heat, industrial heat and the petrochemical industry. Sporadic peak power units run on oil. The technology of oil-fired plants can be condensing turbines (for large scale applications) or common gas turbines.

## Combined Heat and Power plants (CHP)

Combined heat and power (CHP) or cogeneration is an energy conversion process, where electricity and useful heat are produced simultaneously in one process. To produce work is in contrast to heat more difficult. Two options for cogeneration are possible. Firstly, by electrochemical way, e.g. fuel cells, which convert chemical energy direct into electricity, with some irreversibilities where heat is produced. Secondly by the classical thermal route, which are based on conventional power generation systems.

Current Technologies (2007)

A number of mature electricity production technologies are well suited for CHP. The CHP power plants can be divided in three main typologies:

- Gas turbines with heat recovering

- Steam turbines (back-pressure or extraction-condensing)

- Reciprocating engines (basically gas- and diesel engines)

This chapter on CHP will not claim of detailed description of these five technologies of cogeneration.

Two types of production technologies (back pressure and extraction condensing) are short discussed in the following:

A back pressure CHP plant generates electrical power in the same way as a power plant, but instead of discharging the condensation heat from the steam together with the cooling water, the steam is cooled by a e.g. district heating distribution system and thus used for the generation of heat. Another type of cogeneration is the controlled (automatic) extraction operation of the steam turbine. This may also include either unfired or fired boiler operation. A controlled extraction steam turbine permits extraction steam flow to be matched to the steam demand. Varying amounts of steam can be used for heating or process purposes. The steam which will be not extracted is condensed.

In this present paper, gas and hard coal fueled systems have been included for fossil energy carriers and straw and wood chips for biomass. Data estimates for 6000 h/a full load hours, a technical lifetime of 35 years for the fossil plants with an extraction operation and 30 years for the biomass plants. As for the investment costs, there is a relative high discrepancy among the coal-fired and the gas-fired plants, due to the deployment of CCGT plants for natural gas and condensing plants for hard coal. No further high discrepancy on investment costs consists by the use of back pressure or an extraction turbine. Investment cost of biomass CHP plants are in the range of 1750 to 2600 €/kW.

Future Technologies (2020, 2030)

The technologies for combined heat and power are mature, but increased efficiency can be expected, similar the other fossil fuel technologies. CCS will play also an important role in future cogeneration plants. The investment cost of biomass CHP plants will continue be higher than fossil fired plants.

## Renewable Plants

### Hydro

One of the oldest methods for producing electricity is hydro. Currently water is the only renewable source which contributes substantially to the world electricity power, about 16% /IEA 2007/. The hydro power stations convert the potential/kinetic energy of water into electricity as a continuous flow of water through a turbine. The efficiency of hydro power stations is well, above 80 and up to 95%. Hydro power plants can serve as base load stations, but thanks to their fast response they could used as power control service plants. This chapter gives a short summary of hydro power stations, without a detailed discussion of the various types of plants.

In general, the hydro power plants are distinguished in the following types:

- run of river

- dam/pump storage

- tidal power

Current Technologies (2007)

The existing technology is mature and well advanced, whereas the mechanical design is relatively simple. Hydro power units exist in a range from a few kW´s up to some GW`s. By the European Commission is the distinction between large- and small-scale at 10 MW.

From a technical as well as an operational point of view, hydro power stations have a high efficiency and a well availability above 80% /EUSUSTEL 2006/. Although the investment cost of hydro power stations reach up to 5850 €/kW, the generation costs are very low.

Future Technologies (2020, 2030)

The currently reached efficiencies are already high. Small ameliorations could be made on some technical items, but from the economical standpoint will be the investment costs relative high. Presently, various types of emerging technologies are being tested to extract water from tides. But technical and economical assumptions are rather speculative.

### Wind

At the end of 2006, worldwide capacity of wind-powered generators was 73.9 GW; although it currently produces just over 1% of world-wide electricity use] it accounts for approximately 20% of electricity production in Denmark, 9% in Spain, and 7% in Germany /WWEA 2007/. Within the last 15 to 20 years, the wind energy has known an incredibly fast development on a global scale. The technology development started in the early 1980s with wind turbine ranging from 20 to 30 kW with simple fixed speed stall regulated turbines with basic asynchronous generators. At present wind turbines of sizes between 2 to 5 MW with advanced components (variable speed pitch turbines, new control systems and direct drive generator or gearless transmission systems) are commercially available. The generated wind energy can be supplied in grid-connected systems and in stand-alone systems. But in most cases, the wind power plant is connected with the grid.

Current Technologies (2007)

Actual wind turbines are basically classified by the orientation of the drive shaft, which can be horizontal axis turbines or vertical axis turbines. Horizontal axis turbines with two or three blades are the dominant type and used today to nearly 100%. The wind turbine consists of 3 major components rotor, tower and the foundation. Modern wind turbines have an efficiency of 45 to 50%. But after the law of Betz only (16/27) 59% of the kinetic energy in the wind can mechanical used. Over the last 15 years the efficiency increased 2-3% per year.

Especially in north-west countries of Europe the offshore development is rising steadily and begins to play an important role. Sites for onshore power plants are limited and onshore plants generate less electricity. Despite the higher investment costs, by about a factor two, the interest in offshore is increasing. By using the kinetic energy in the wind offshore, there is less turbulence and there are higher wind speeds, which result in expected utilisation times or more than 3000 h/a and up to 4000 full load hours per year. Inland wind power plants have an average availability of approximately 2000 to 2600 h/a. From an economical point of view, two parameters dominate the cost of generating electricity by wind: the investment cost of the plant and the electricity production rate of the turbine.

Future Technologies (2020, 2030)

In future the main expected trend of the wind technology is the further up-scaling of the turbines, in order to minimize the higher costs of foundation and cabling. Today offshore and onshore wind turbines of 2 to 3 MW are commercially available. There are also some larger wind turbines, especially for offshore sites, but mostly they are still in prototype phase. The increasing of wind turbines is not limited by physical barriers, but the logistic of the material transport will be more and more a challenge. In summary, the size of wind turbines will increase up to or above 10 MW`s within the next decades /EUSUSTEL 2006/. A general change to gearless wind turbine is not expected, although this would solve many problems with the gearbox. As wind turbines grow in capacity, the size of the tower and the blades grow accordingly. The main challenge for constructing and design such large wind power plants is to reduce the weight of the bleeds (carbon fibres instead glass fibres) and of the foundation. The selection of the foundation type depends on the location of the wind turbine. In particular water depths of more than 30 metres exact other foundation design as the monopile-foundation.

### Photovoltaic PV

Photovoltaic (PV) constitutes a technology, which is able to directly convert solar radiation in to electricity. The basic element of a PV system is a PV cell consisting of semiconductor material, which generates direct current from solar radiation. The peak capacity of one PV cell normally ranges from 50 to 150 Wp /EUSUSTEL 2006/. PV is a modular technology, thus PV systems consist of an interconnected series of PV cells, which altogether can feature peak capacities up to several megawatts.

The number of world-wide installed PV systems has considerable increased within the last decade and reached a capacity of around 5.7 GW in 2006. Thereby the most capacities had been manufactured in Japan, the US and Europe.

PV systems are generally distinguished into building-integrated systems (facade or roof installations) and centralized systems (ground mounted power plant). If the PV system is grid-connected, an inverter is necessary to invert direct current generated by the PV cell into alternating current.

There are different semiconductor materials used for the manufacturing of PV cells. The most common material applied in current installations is crystalline silicon /EPIA 2004/. There are two main types of crystalline, single-cristalline (sc) and multi-crystalline (mc) silicon. In this work mc-cristalline PV cells have been investigated, which currently are the most applied material for PV cells and feature an efficiency of around 15%.

The cost of electricity generation in PV systems is clearly higher than the cost of other technologies. This is due to the energy-intensive production of PV cells resulting into high specific investment costs. In consequence of low efficiencies and full load hours (electricity is only generated when the sun is shining) PV systems generate considerably less electricity compared to the same capacity of other electricity generation technologies.

Future Technologies (2020, 2030)

Improvement of PV systems will be primarily related to two aspects. Major improvements are anticipated to take place in the construction of PV cells. New materials and manufacturing processes are under development aiming at a reduction of resource use and costs. Currently the learning curves of PV cell production are around 20% and still quite high. The second focus of future development lies on the improvements of the PV cell efficiencies. Currently the second generation of PV cells is on the market. An anticipated third generation is anticipated to approach a PV cell efficiency of around 20% /EPIA 2004/. Furthermore, a longer technical life times are expected in the third generation of PV cells.

### Solar thermal (Solar trough)

Solar thermal electricity generation involves the capture of heat from solar radiation and conversion into electricity. Currently four main systems of solar thermal electricity generation can be distinguished:

- Parabolic trough systems dam/pump storage

- Central receiver systems

- Dish-engine systems

- Solar updraft tower

The first three systems concentrate the solar radiation by means of window systems in order to gain high temperature, which are used for the operation of a conventional steam cycle. The principle of a solar updraft tower is to collect air, which is heated up by solar radiation, and to use the effect of ascending heated air in a turbine for the generation of electricity. In this study exemplarily, parabolic trough systems have been investigated. Parabolic trough systems consist of solar collector arrays, which concentrate solar radiation to a het transfer fluid, which is pumped through a pipe along the collector array. The heat of this transfer fluid is used to produce steam, which is converted into electricity in a steam turbine. First parabolic trough power plants with a capacity of 354 MWe have been built between 1984 and 1989 in southern California. For base load electricity generation, these systems are co-fired by natural case in hours without solar radiation.

Future Technologies (2020, 2030)

Starting from operational experiences of more than 20 years, parabolic trough technology is considered an approved and mature technology. A potential technological development, which is currently tested at pilot-scale, is the installation of a direct steam generation (DFG) instead of heat transfer via a heat transfer fluid /Luzzi et al. 2004/. This would avoid the use of toxic and considerable reduce the necessary infrastructure. Scaling to units with higher capacities is expected. Improvements in the steam cycle are in line with improvements in fossil fuelled condensing power plants.

## Fuel Cells

The basic operating principle of a fuel cell is based on the controlled electrochemical reaction of hydrogen with oxygen forming water while using the electric energy output. The basic principle was already described in the 19.th century by William Grove.

Conventional conversion of the chemical energy of a fuel into electricity is currently based on the deployment of heat engines. These machines work according to the principle of indirect energy conversion. At first heat must be produced which is then converted into mechanical and finally into electric energy by a generator. The maximum energetic efficiency is given by the Carnot factor and depends on in- and outlet temperature.

Unlike the conventional power generating concepts, the electrochemical basic concept of fuel cells produce direct electricity and heat and is not limited by the Carnot factor. Nevertheless, the fuel cell process is subject of the second law of the thermodynamics.

The fuel cells are generally connected in series to achieve the desired power output. The assembly of several cells together with the necessary equipment (separators, cooling plates, manifolds and supporting structure) is called fuel cell stack. When one or more stacks are assembled together then a fuel cell module is obtained. There exist several fuel cell technologies and systems, which can serve for several small-scale, to large scale applications. In this paper fuel cell systems are addressed for CHP applications. Due to heat as by-product fuel cells are perfectly suitable for CHP applications.

Current Technologies (2007), Future technologies (2020, 2030)

For stationary applications, numerous demonstration plants and some field tests already implemented /Adamson 2005/. Nowadays, the fuel cells exist in different types, distinguished mainly by the electrode material and the corresponding operating temperature. For stationary applications, the most important fuel cell types are /FZJ 2007/:

-	MCFC – Molten Carbonate Fuel Cells

-	SOFC – Solid Oxide Fuel Cells

-	PEMFC – Polymer Electrolyte (or Proton Exchange Membrane) Fuel cells

-	PAFC – Phosphoric Acid Fuel Cells

In this chapter only the MCFC and SOFC will be described. The SOFC operates at temperatures from 650 to 1000°C. As a result of the high temperature SOFCs can be used for a broad range of CHP applications. In general, fuel cells are characterized by their electrolyte material and, as the name implies, the SOFC has a solid oxide, or ceramic, electrolyte. The efficiency of a SOFC is about 44% and the efficiency can be significant increased in combination with a down streamed micro gas turbine. The other type of fuel cell for stationary application is the MCFC, which operates above 600°C. The Molten Carbonate Fuel Cell offer the advantage of high (electrical and thermal) efficiencies, high temperature of the exhaust heat (which makes the production of steam feasible) and the straight-forward use of carbon containing synthesis gases. Correspondingly, MCFC are developed for use of different fuels. In our study MCFC is used for biogas and natural gas.

Also, due to the relatively high operating temperature, expensive catalysts are not required, whereas compared to the SOFC, which operates at higher temperatures, expensive ceramics can be avoided. The investment cost of a SOFC is approximately 30% higher than for the MCFC. Compared to other cogeneration plants the capital cost is very high, due to the use of new and cost intensive materials. Fuel cells have a part-load efficiency and are reliable. The power output can be changed easily, due to the modular construction.

# Private Costs

Before going into detail and depict the private costs of electricity and heat generation, this section describes the main general trends, results and emphases which conclusions can be found in this report. It is important to realise that this paper gives a snapshot of the existing situation.

The results, as can be found in chapter 5.1 (year 2007), 5.2 (year 2020) and 5.3 (year 2030), can be divided into two parts. The first part depicts the influence of the discount factor (5 versus 10%) and assumes a constant available factor. To illustrate the effect of the availability factor (expressed in Full Load Hours) on production cost, the cost of generation in 2007, 2020 and 2030 of the various technologies over a range of plant factors is shown in each chapter. The second part discusses the results of the respective energy carrier and point of time.

## Private Costs 2007

### Fossil and Nuclear Power 2007

Capital cost repayments and fuel costs tend to be the two largest components of the cost of electricity. In this case the nuclear PWR and the lignite condensing power plant have the lowest specific private costs per MWhel. The higher capital costs make the nuclear power more expensive than the lignite condensing plant. An advantage of the gas power plant is its low investment costs. On the other hand, fuel costs amount to more than 80% of the total electricity production costs. This makes the gas technology very dependant on the gas prices, which are is as volatile as the prices of oil and of which is following the trend of long term price increasing. Gas power plants can serve in base, cycling a peak load with acceptable production costs. Whither the oil power plants are completely uncompetitive due to the fuel price. For current (2007) fossil and nuclear technologies, lignite condensing plants have the lowest production costs at a discount rate of 5 and 10% (see Table 5 and Figure 1). Figure 2 and the enclosed Table 6 and 7 depict the effect of the availability factor and emphasis the deployment of nuclear, coal and lignite plants as base load plants. To come to a close, the nuclear plant and the lignite plant at a 5% discount rate and the coal and lignite condensing plants at 10% discount rate have the lowest generating costs.

Table 5	Fossil/Nuclear private costs with a Discount rate of 5 and 10%, 7500 h/a (2007)

Figure 1	Fossil/Nuclear private costs with a Discount rate of 5 and 10%, 7500 h/a (2007)

Table 6		Fossil/Nuclear effect of availability by 5% discount rate (2007)

Figure 2	Fossil/Nuclear effect of availability (Full loading hours) by 5% discount rate (2007)

Table 7		Fossil/Nuclear effect of availability by 10% discount rate (2007)

### Combined Heat and Power 2007

Combined Heat and Power is a mature technology with high potential for the heat and electricity markets. Table 8 and Figure 3 present the results for the optimal availability from 6000 full load hours. Typical availability factors for CHP`s varies from 3500 hours to 6000 hours, depending on the weather and size of the plant compared to the heat sink (see Table 9, Table 10 and Figure 5). In the present review coal and gas combined heat and power plants are the most competitive. In the simplified approach for the heat credits the minimal electricity costs are absolutely low. For combined heat and power the total production costs of generating electricity are highly dependant on the use a value of co-product, the heat, and thereby very site specific. In comparison to the fossil fuel CHP`s, CHP`s which uses biomass (straw, wood) have two to three times higher costs. Beside the Fuel Cell Technologies the ordinaries CHP`s are highly resistant against an increasing discount rate. At a 5% discount rate, the maximum production costs range between 44 and 63 €/MWhel for fossil energy carriers without heat credits and from 8 to 44 €/MWhel with heat credits. For biomass the cost ranges between 103 and 118 €/MWhel without heat credits (incl. heat credits: 12-25 €/MWhel).

Table 8	CHP private costs at back pressure mode with a discount rate of 5 and 10%, 6000 h/a (2007)

Figure 3	CHP private costs at back pressure mode with a discount rate of 5 and 10%, 6000 h/a (2007)

Table 9		CHP effect of availability at back pressure mode by 5% discount rate, with heat credit (2007)

Figure 4 	CHP effect of availability (Full loading hours) at back pressure mode by 5% discount rate, with heat credit  (2007)

Table 10	CHP effect of availability at back pressure mode by 10% discount rate, with heat credit (2007)

### Renewable Sources 2007

For the renewable sources the generic framework and assumptions adopted to calculate private costs for those plants have been adapted to reflect their specific characteristics. The lifetimes of renewable technologies, with the exception of hydro power, are maximum 30 years (solar thermal). As well, the average full loading hours of volatile generating technologies (wind and solar) are significantly lower than the generic assumption of 7.500 h/a for nuclear, coal and gas plants. Three types of run of river hydro plants (small, medium and large), a hydro dam and hydro pump storage are in the category hydro power generation considered. The production costs of hydroelectricity are depicting in Table 11. At a discount rate of 5%, the electricity production costs of hydro range between 68 and 110 €/MWhel. By calculations with a discount rate from 10% the hydroelectricity production costs varies between 123 and 205 €/MWhel. For wind power plants only a marginal production cost difference exists, although the investment cost for offshore turbines is considerably higher. Thanks the more stable wind conditions and higher availability of the offshore plant exists nearly the same costs. At a 5% discount rate, the production costs for wind power plants are about 55 €/MWhel (incl. Back-up min). Figure 5 shows that the electricity production costs of solar generated electricity, in particular PV, are absolute uncompetitive in relation to the other renewable technologies or fossil and nuclear generated electricity. Table 12 and 13 depict the effect of availability at 5 and 10% discount rate.

Table 11	Private costs of electricity generation technologies by renewable sources with a discount rate of 5 and 10% (2007)

Figure 5 	Private costs of electricity generation technologies by renewable sources with a discount rate of 5 and 10% (2007)

Table 12	Renewable effect of availability (Full loading hours) by 5% discount rate (2007)

Table 13	Renewables effect of availability (Full loading hours) by 10% discount rate (2007)

## Private Costs 2020

### Fossil and Nuclear Power 2020

The dominant position of lignite and nuclear is also reflected by the year 2020. The costs of known fossil and nuclear fuel based technologies decrease mainly by two factors: higher efficiency and lower investment costs (see Table 14 and Figure 6). At a 5% discount rate the electricity production costs of lignite-based power plants decrease by approximately 5 €/MWhel between 2007 and 2020 and the costs of nuclear-based technologies by approximately 4 €/MWhel. Another interesting result is the strong increase of the production costs of oil power plants, which increase to more than 40% due to the higher price of oil. Despite the oil-gas price coupling mechanism the production costs of IGCC gas plants remain of a constant level. This development can be explained firstly by the increasing efficiency factor (57.5 to 62%) and secondly by the lower overnight capital costs (see Table 3). The natural gas and coal CCS enter the market in 2020 by costs of 35 €/MWhel for lignite, 43 €/MWhel for coal and 60 €/MWhel for natural gas at a discount rate of 5%. In line with the differences in average availability (see Figure 8 and Table 15, 16) full load hours, the electricity production costs of the nuclear power and the lignite power plants are nearly constant below 40 €/MWhel. This result is mainly driven by the lower nuclear investment costs. The use of CCS-technology increase the production costs by more than 20%.

Table 14	Fossil/Nuclear private costs with a discount rate of 5 and 10%, 7500 h/a (2020)

Figure 6 	Fossil/Nuclear private costs with a discount rate of 5 and 10%, 7500 h/a (2020)

Table 15	Fossil/Nuclear effect of availability by 5% discount rate, without costs for CO2  transport and storage (2020)

Figure 7 	Fossil/Nuclear effect of availability by 5% discount rate, without costs for CO2 transport and storage (2020)

Table 16	Fossil/Nuclear effect of availability by 10% discount rate, without costs for CO2  transport and storage (2020)

### Combined Heat and Power 2020

The production costs of the several mature combined heat and electricity technologies (coal condensing, natural CCGT) are in nearly the same range as 2007. In comparison to the fossil-fuel based CCS-CHP`s the costs are approximately 20% lower. At a discount rate of 5%, the costs of common fossil CHP´s ranges between about 10 and 64 €/MWhel (at maximum level, with heat credit). For a coal CCS condensing CHP the production costs are 31 €/MWhel and for a gas-fired CCS CHP 64 €/MWhel. Contrary to 2007, the fuel cells are not any more the cost intensive CHP-technology. This depends on the learning curve of the various fuel cell plants. The biomass-fired cogeneration plants are uncompetitive due to the high share of fuel costs (see Table 17 and Figure 8). Over two-thirds of the biomass production costs are devoted by the high fuel prices.

The additional costs for CO2 transport and storage of the plants with CO2-sequestration range from 1 to 5 €/MWhel for the gas CGP and from 2 to 10 €/MWhel for the coal CHP.

Figure 9 and the enclosed Table 18 and 19 describe the effect of availability of generating costs of CHP`s.

Table 17	CHP private costs at back pressure mode with a discount rate of 5 and 10%, 6000 h/a (2020)

Figure 8 	CHP private costs at back pressure mode with a discount rate of 5 and 10%, 6000 h/a (2020)

Table 18	CHP effect of availability at back pressure mode by 5% discount rate, with heat credit but without costs for CO2 transport and storage (2020)

Figure 9 	CHP effect of availability (Full loading hours) at back pressure mode by 5% discount rate (2020, with heat credit but without costs for CO2 transport and storage)

Table 19	CHP effect of availability at back pressure mode by 10% discount rate, with heat credit but without costs for CO2 transport and storage (2020)

### Renewable Sources 2020

With exception of the solar technologies (PV and solar through) the production costs of nearly all renewable energies are 2020 in the same range as 2007. At a 5% discount rate, the cost of PV decreases of about a factor two (by comparing Table 19 and 20). The lower investment costs are essential for this development. But in comparison to the other electricity technologies PV remains the most expensive electricity generating technology with more than 200 €/MWhel at a 5% discount rate.

Table 20	Private costs of renewable electricity generation technologies with a discount rate of 5 and 10% (2020)

Figure 10 	Private costs of renewable electricity generation with a discount rate of 5 and 10 % (2020)

Table 21	Renewables effect of availability by 5% discount rate (2020)

Table 22	Renewables effect of availability by 10% discount rate (2020)

## Private Costs 2030

### Fossil and Nuclear Power 2030

The lowest private costs of generating electricity by fossil-fired and nuclear technology are below 28 €/MWhel (presented in Table 23 and Figure 11). The private costs and the ranking of technologies are more or less similar to the years 2007 and 2020. The nature of low fuel costs affects the minimal private costs for fossil-fired lignite and nuclear power plants. The markets for coal power plants technology are undergoing substantial changes towards CO2-sequestration, which leads to higher private costs (2-13 €/MWhel). At a 5% discount rate, the costs range between 35 and 60 €/MWhel for most plants with CO2-sequestration and CO2 transport and storage costs of 3 Euro/t CO2. Within this fossil/nuclear framework (2007-2030) it can be reasoned that, oil-fired power plants are the most expensive generating technology, with up to 100 €/MWhel.

Table 23	Fossil/Nuclear private Costs with a Discount rate of 5 and 10%, 7500 h/a (2030)

Figure 11 	Fossil/Nuclear private costs with a discount rate of 5 and 10 %, 7500 h/a (2030)

Table 24	Fossil/Nuclear effect of availability by 5% discount rate but without costs for CO2  transport and storage (2030)

Figure 12 	Effect of availability (Full loading hours) by 5% discount rate and with-out costs for CO2  transport and storage (2030)

Table 25	Fossil/Nuclear effect of availability by 10% discount rate, without costs for CO2 transport and storage (2030)

### Combined Heat and Electricity 2030

In 2030 the production costs of CHP´s are nearly equivalent to the figures in 2020 because the increased electrical efficiency will be adjusted by increasing fuel costs. The costs of CO2 transport and storage are with 3 €/t CO2 (min) and 15 €/t CO2 (max) considered and contribute to additional costs from 1 to 5 €/MWhel and for coal from 2 to 10 €/MWhel (see Table 26 and Figure 13). In comparison to the 2020 results, the increasing electrical efficiency of back pressure CHP`s and the decreasing thermal efficiency of this CHP´s results to lower heat credits and thus to lower heat credits. By back pressure CHP´s increase the electrical efficiency from 46 to 46.5% for gas CHP`s and from 37 to 38% for coal CHP´s, compared to 2020 estimates.

Considering the effect of availability of CHP`s, the gas CCGT CHP with CO2 sequestration has relative high generating costs, as presented in Figure 13.

Table 26	CHP private costs at back pressure mode with a discount rate of 5 and 10%, 6000 h/a (2030)

Figure 13 	CHP private costs at back pressure mode with a discount rate of 5 and 10%, 6000 h/a (2030)

Table 27	CHP effect of availability at back pressure mode by 5% discount rate, with heat credit but without costs for CO2 transport and storage (2030)

Figure 14 	Effect of availability at back pressure mode, (Full loading hours) by 5% discount rate (2030, with Heat credit)

Table 28	CHP effect of availability at back pressure mode, by 10% discount rate, with heat credit (2030)

### Renewable Sources 2030

In 2030 the private costs calculated for renewable technologies have not the same price reduction as from 2020 to 2007. At a discount rate of 5%, the wind energy production costs are in the range of 51 to 53 €/MWhel (incl. Back-up, min) as presented in Figure 15 and Table 29, against private costs of about 59 €/MWhel in 2020. For solar plants the installation site remains the crucial factor of the private costs. Solar power roof systems are more expensive than open space systems. At the roof systems of solar energy systems the private costs reaching around 230 €/MWhel at 5% discount rate and more than 330 €/MWhel at 10% discount rate.

Table 29	Private costs of electricity generation technologies by renewable sources with a discount rate of 5 and 10% (2030)

Figure 15 	Renewables private costs with a discount rate of 5 and 10 % (2030)

Table 30	Renewables effect of availability by 5% discount rate (2030)

Table 31	Renewables effect of availability by 10% discount rate (2030)

# Summary

Summarising the calculation results for the various electricity generation technologies, regarding the capital, fuel, operating and maintenance cost as well as the CO2 cost for transport and storage it can be observed that the conventional power plants are projected to have economic advantages compared to technologies using renewable energy sources. The assumed input data for capital cost, O&M costs, efficiencies, technical availability and lifetime of the power generation systems are based on actual estimations of power plant manufactures, power plant operators and scientists. The average levelised lifetime costs of electricity are compared for the power plants in the years 2007, 2020 and 2030. For CO2 transport and storage two different costs were assumed (3 €/t CO2 and 15 €/t CO2) and for all technologies detailed and characteristic sensitivity analysis were performed.

The lowest private costs of generating electricity from the traditional main generating technologies (nuclear, hard coal, lignite and hydro) are within the range of about 25 to 45 €/MWhel. The private costs for renewable energy sources stays on a high level up to 2030. At a discount rate of 5% the costs for generating electricity with renewable energies are about 52 €/MWhel for wind turbines and between 230 - 330 €/MWhel for PV systems. Combined Heat and Power plants are already today very competitive with private costs from 40 to 60 €/MWhel. In comparison to the conventional fossil power plants the generation costs of CCS-power plants, which are currently in the development status, will be significant higher due the greater capital and operating costs and the lower efficiency. In 2030 the levelised lifetime costs of CCS-plants are about 25 % higher, but with an increasing CO2-value the CCS plants could be more competitive than the traditional plants.

The choice of the discount rates of 5 and 10% reflects an assessment of power generation investment strategies.

Within this framework and limitations, the paper suggests that none of the traditional electricity technologies can be expected to be the cheapest in all situations. Also, the chosen generating technology will depend on the specific circumstances of each project.

# References

| /Adamson 2005/ | Adamsons K. A.; Fuel Cell Today Market Survey: Large Stationary Applications”, Fuel Cell Today; New York 2005. Online-version under: http://www.fuelcelltoday.com |
| --- | --- |
| /Ecofys 2004/ | Hendriks, C., Graus, W., van Bergen, F.: Global carbon dioxide storage potential and costs, Ecofys Utrecht 2004. |
| /EPIA 2004/ | EPIA: Roadmap 2004. European Photovoltaic Industry Association (EPIA), June 2004 |
| /ETP 2008/ | Energy Technology Perspectives Scenarios and Strategies to 2050, IEA, Paris 2008. |
| /EUSUSTEL 2006/ | EU, European Sustainable Electricity; Comprehensive Analysis of Future European Demand and Generation of European Electricity and its Security of Supply, Leuven 2006. |
| /Friedrich 1989/ | Friedrich, R.; Kallenbach, U.; Thöne E.; Voß A.; Rogner, H.; Karl, H.; Externe Kosten der Stromerzeugung. Schlussbetrachtung zum Projekt im Auftrag vom VDEW, VWEW Energieverlag, Frankfurt (Main) 1989. |
| /FZJ STE 2006/ | Forschungszentrum Jülich, Systemforschung und Technologische Entwicklung, Linßen J., Markewitz P., Martinsen, D., Walbeck M., Zukünftige Energieversorgung unter Randbedingungen einer großtechnischen CO2-Abscheidung und Speicherung, April 2006. |
| /FZJ 2007/ | Forschungszentrum Jülich, Institute of Energy Research; Jülich 2007. Online-version under: http://www.fz-juelich.de/ief/ |
| /GIF 2002/ | GIF (2002) A Technology Roadmap for Generation IV Nuclear Energy Systems. US DOE Nuclear Energy Research Advisory Committee and Gen IV International Forum, 2002 Online-version under: http://gen-iv.ne.doe.gov/. |
| /Hendriks 2007/ | Hendriks, C.: Carbon Capture and Storage. Draft. United Nations Framework Concention on Climate Change (UNFCCC) Secretariat Financial and Technical Support Program. Bonn (Germany), 2007 |
| /IEA 2005/ | IEA/OECD/NEA Projected Costs of Generating Electricity, Paris, 2005 |
| /IEA 2007/ | IEA Key world energy statistics, Paris 2007 |
| /IPCC 2005/ | Intergovernmental Panel on Climate Change, IPCC, Carbon dioxide capture and storage, Summary for policymakers and technical summary, Nairobi 2005. |
| /IPCC 2007/ | IPCC Special Report; Technical Summary; Carbon Dioxide Capture and Storage, Geneva 2007. |
| /Kruck 2004/ | Kruck C.; Eltrop L.: Stromerzeugung aus erneuerbaren Energien. Eine technische ökonomische und ökologische Analyse im Hinblick auf eine nachhaltige Energieversorgung in Deutschland. Schlussbericht zum Projekt des Zentrums Energieforschung Stuttgart e.V. (ZES), Stuttgart 2004. |
| /Luzzi et al. 2004/ | Luzzi, A.; Lovegrove, K.: Solar Thermal Power Generation. In: Encyclopedia of Energy. Vol. 5, p. 669-683. Elsevier. 2004 |
| /MIT 2003/ | Massachusetts Institute of Technology; The Future of Nuclear Power, an Interdisciplinary MIT Study. Massachussets, MIT, 2003 |
| /MIT 2005/ | Massachusetts Institute of Technology; An Overview of Coal based Integrated Gasification Combined Cycle (IGCC) Technology. Massachussets, MIT, 2003 |
| /VGB 2005/ | VGB; CO2 Capture and Storage; A VGB Report on the State of the Art, Essen 2005. |
| /WI 2007/ | Wuppertal Institut für Klima, Umwelt und Energie GmbH, DLR – Institut für Technische Thermodynamik, Zentrum für Sonnenenergie- und Wasserstoff-Forschung, Potsdam-Institut für Klimafolgenforschung, RECCS Strukturell-ökonomisch-ökologischer Vergleich regenerativer Energietechnologien (RE) mit Carbon Capture and Storage (CCS), Wuppertal, 2007 |
| /WWEA 2007/ | World Wind Enerag Association; Press Release; New World Record in Wind Power Capacity; Bonn 2007. |